Customized Protocol for Dual-Glo® Luciferase Assay System

Materials and Reagents:

- Dual-Glo® Luciferase Assay System components

- 24-well plates

- 96-well plates (for luminescence reading)

- Culture medium

- Mammalian cells

Preparation of Reagents:

- Dual-Glo Luciferase Reagent Preparation:

  - Transfer the contents of one bottle of Dual-Glo Luciferase Buffer to one bottle of Dual-Glo Luciferase Substrate to make the Dual-Glo Luciferase Reagent.

  - Store at -80°C to maintain activity. Thaw at room temperature before use.

- Renilla - Dual-Glo Stop & Glo Reagent Preparation:

  - Dilute Dual-Glo Stop & Glo Substrate 1:100 into Dual-Glo Stop & Glo Buffer to prepare the required volume of Dual-Glo Stop & Glo Reagent.

  - Prepare immediately before use and do not store.

Procedure:

- Cell Culture Preparation:

  - Cultivate mammalian cells in a 24-well plate.

  - Reduce the culture medium in each well to 100µl to achieve a 1:1 ratio with the Dual-Glo Luciferase Reagent.

- Luciferase Addition:

  - Add 100µl of Dual-Glo Luciferase Reagent to each well.

  - Mix gently for thorough distribution.

- Incubation with Agitation:

  - Cover the plate, place it on an agitator, and incubate at room temperature (20–25°C) for 15 minutes to facilitate cell lysis and reaction development.

- Luminescence Measurement:

  - Transfer 100µl of the liquid in each well of the 24-well plate to a 96-well plate for luminescence reading.

    - The plates used must be compatible with the luminometer being used.

    - Use a needle to blow up bubbles if necessary.

  - Measure the firefly luminescence using a luminometer.

- Renilla (Stop and Glow) Addition:

  - Add 100µl of diluted "Stop and Glow" (1:100 dilution) to each well of the 96-well plate.

  - Mix thoroughly.

- Second Incubation:

  - Cover the plate and wait for another 15 minutes on the agitator at room temperature.

- Final Luminescence Measurement:

  - Measure the Renilla luminescence in the 96-well plate.

  - Perform readings in the same order as the firefly luminescence.

- Data Analysis: Calculate the firefly to Renilla luminescence ratio for each well. Normalize this ratio against a control well or series of control wells.