Promofectin/lipofectamine transfection protocol

- Seed cells in 24 well plate

- Cell type_____________________

- No. of cells___________________

- Day later check cell should be at 80% confluence

- Prepare mix optimem and promofectin

- Optimem (50ul per well)____________________

- Promofectin (2ul per well)__________________

*lipofectamine instead of promofectin (1ul per well and optimem 25ul per well)_______

- Vortex

- Prepare mix optimem and plasmid

- Optimem (50ul per well)___________________

- Plasmid (50-500ng total)___________________

- Vortex

- Wait 5 min and mix and vortex

- Wait 15-30 min and drop-wise 100ul mix (or 50ul if using lipofectamine) into serum containing medium cells

- Spin down plate

Change medium at the end of the day (2.5h minimum)
*Add 10ng/ml TNFa 24h later with fresh medium (10000 dilution)

Read luciferase activity 48h later

- Remove medium to 100ul per well

- Add 100ul Dual-Glo® Reagent (-80c)

- Incubate at least 15min on shaker protect from light

- Take 100ul lysate into 96well plate suitable for luciferase measurement

- Read luciferase

- Add 100ul Dual-Glo® Stop & Glo®  (renilla reagent prepared fresh 1:100) wait at least 10 min on shaker protect from light – read renilla

Plate set up